# FACILITIES CHECKLIST

Facility: ____________________________________ Inspected by: ______________________________________ Date: ______________________

|  | YES | NO | ## N/A | COMMENTS/ACTIONS |
| --- | --- | --- | --- | --- |
| WALKING/WORKING SURFACES |  |  |  |  |
| - Aisles, walkways and passageways clear |  |  |  |  |
| - Aisles, walkways and passageways marked as appropriate |  |  |  |  |
| - Exterior walkways cleared and in good repair |  |  |  |  |
| - Floor holes, floor openings, wall openings and skylights guarded |  |  |  |  |
| - Gratings, non-skid mats or other non-slip materials used in wet areas |  |  |  |  |
| - Floors clean and free of spilled materials |  |  |  |  |
| - Gratings, mats, etc., in good repair |  |  |  |  |
| - Open-sided floors, platforms and runways that are four feet or more above ground level guarded and equipped with toeboards |  |  |  |  |
| - Guardrails and toeboards meet standards and in good repair |  |  |  |  |
| - Elevated load-bearing floors and roofs posted with safe load limit signs |  |  |  |  |
| - Aisles or walkways near machinery, welding operations or similar operations arranged so employees are not exposed to potential hazards |  |  |  |  |
| - Materials or equipment stored in such a way that sharp edges, etc., will not interfere with the walkway |  |  |  |  |
| - Adequate headroom provided for the entire length of any aisle or walkway |  |  |  |  |
| - Bridges over conveyors and similar hazards |  |  |  |  |
| # ILLUMINATION |  |  |  |  |
| - Lighting adequate |  |  |  |  |
| - Emergency lighting systems adequate |  |  |  |  |
| - Temporary lighting adequate and properly guarded |  |  |  |  |
| STAIRS & STAIRWAYS |  |  |  |  |
| - Stairs, elevator landings and escalators clear and in good repair |  |  |  |  |
| - Handrails present on all stairways having four or more risers |  |  |  |  |
| - Handrails clean, secure and free of rough surfaces |  |  |  |  |
| - Stairways at least 22 inches wide |  |  |  |  |
| - Stairs angle no more than 50 degrees and no less than 30 degrees |  |  |  |  |
| - Step risers on stairs uniform from top to bottom |  |  |  |  |
| - Steps on stairs and stairways have surfaces that render them slip-resistant |  |  |  |  |
| # LADDERS |  |  |  |  |
| - Ladders equipped with safety feet |  |  |  |  |
| - Ladders in good condition |  |  |  |  |
| - Non-metal ladders available if there is an electric shock exposure |  |  |  |  |
| - Ladders being used properly |  |  |  |  |
| # LIFE SAFETY |  |  |  |  |
| - At least two easily accessible fire emergency exits for each for work area |  |  |  |  |
| - Exits properly marked and illuminated |  |  |  |  |
| - Exit routes clear and unobstructed |  |  |  |  |
| - Exit doors equipped with panic hardware and no other locks |  |  |  |  |
| GENERAL HOUSEKEEPING |  |  |  |  |
| - All spilled hazardous materials or liquids, including blood and other potentially infectious materials, cleaned up immediately and according to proper procedures |  |  |  |  |
| - All combustible scrap, debris and waste stored safely and removed from the worksite properly |  |  |  |  |
| - All regulated waste, as defined in the OSHA Bloodborne Pathogens Standard (1910.1030), discarded according to federal, state and local regulations |  |  |  |  |
| OTHER |  |  |  |  |