# CONSTRUCTION SAFETY INSPECTION CHECKLIST

|  | YES | NO | ## N/A | COMMENTS/ACTIONS |
| --- | --- | --- | --- | --- |
| GENERAL |  |  |  |  |
| - Job safety and health poster posted |  |  |  |  |
| - Records of recent inspections and safety meetings available |  |  |  |  |
| - Adequate provisions for first aid and medical attention |  |  |  |  |
| - Communications and emergency numbers |  |  |  |  |
| # HOUSEKEEPING & FACILITIES |  |  |  |  |
| - Drinking water and single-service cups available |  |  |  |  |
| - Adequate toilet facilities |  |  |  |  |
| - Trash containers provided |  |  |  |  |
| - Regular disposal of trash and waste |  |  |  |  |
| - Nails removed or bent down |  |  |  |  |
| - Spills cleaned up immediately |  |  |  |  |
| - Aisles and work areas neat and orderly |  |  |  |  |
| - Materials stored properly |  |  |  |  |
| # PERSONAL PROTECTIVE EQUIPMENT |  |  |  |  |
| - Eye protection being used and adequate |  |  |  |  |
| - Head protection utilized as needed |  |  |  |  |
| - Safety lanyards available and being used properly |  |  |  |  |
| - Gloves being used when needed |  |  |  |  |
| - Proper clothing being worn |  |  |  |  |
| - Hearing protection available and used when required |  |  |  |  |
| - All PPE kept in sanitary and reliable condition |  |  |  |  |
| # FALL PROTECTION |  |  |  |  |
| - Guardrails protecting open-sided floors, holes/openings, scaffolds, runways, etc. |  |  |  |  |
| - Barricades provided to protect trenches and warn of other hazards |  |  |  |  |
| - Ladders and scaffolds properly constructed |  |  |  |  |
| - Ladders extended 36” above landing and tied off |  |  |  |  |
| - Erection and dismantling of scaffolds supervised by a competent person |  |  |  |  |
| - Floor holes provided with secured covers and coded/marked |  |  |  |  |
| - Ladders and scaffolds being used in accordance with manufacturers’ manuals |  |  |  |  |
| # HAND & POWER TOOLS |  |  |  |  |
| - Proper tools being used for the job |  |  |  |  |
| - Tools being maintained in a safe condition |  |  |  |  |
| - Mechanical guards in place |  |  |  |  |
| - Proper training provided for user(s) of the tool(s) |  |  |  |  |
| # ELECTRICAL |  |  |  |  |
| - Ground fault circuits or grounding integrity program in place |  |  |  |  |
| - Electrical cords in good repair and grounded |  |  |  |  |
| - Bulb guards for temporary lights |  |  |  |  |
| - Wiring done per code and good wiring practices |  |  |  |  |
| # EXCAVATIONS & TRENCHING |  |  |  |  |
| - Properly supervised by a person who has completed “competent person” training |  |  |  |  |
| - Proper shoring and/or sloping of excavations over 5 feet |  |  |  |  |
| - Adequate ladders or ramps provided for exit from excavations over 4 feet |  |  |  |  |
| - Proper utility services identifications and locations made |  |  |  |  |
| - Materials and equipment stored at least 2’ from the edge |  |  |  |  |

Site: ___________________________________ Date: ________________ Inspected by: _________________________________________________

Other comments or recommendations:

____________________________________________________________________________________________________________________________________________________________________________________________

____________________________________________________________________________________________________________________________________________________________________________________________

____________________________________________________________________________________________________________________________________________________________________________________________

____________________________________________________________________________________________________________________________________________________________________________________________

____________________________________________________________________________________________________________________________________________________________________________________________

____________________________________________________________________________________________________________________________________________________________________________________________

____________________________________________________________________________________________________________________________________________________________________________________________